## ES_inputs
Time |  | 2019 | 2050
ES ElectricityCapacity | PV | 0.95 | 104.8
ES ElectricityCapacity | Biomass CHP el | 54 | 56
ES ElectricityCapacity | Waste CHP el | 14 | 14.49
ES ElectricityCapacity | Grid Connection | 332 | 772.837
ES ElectricityCapacity | Biomethane CHP el | 0 | 0
ES ElectricityCapacity | Battery | 0 | 11.82
ES ElectricityCapacity | Fuel Cell el | 0 | 0
ES ElectricityCapacity | Fuel Oil PP | 0.6 | 0
ES ElectricityCapacity | Biogas PP | 2 | 0
ES ElectricityCapacity | Natural Gas CHP el | 0 | 0
ES ElectricityCapacity | Peat CHP el | 2 | 0
ES ElectrictitySupply | PV | 1 | 97.4615
ES ElectrictitySupply | Biomass CHP el | 376.616 | 15.3442
ES ElectrictitySupply | Waste CHP el | 64.7968 | 0.23133
ES ElectrictitySupply | Grid Connection | 2135.3012 | 4515.565
ES ElectrictitySupply | Biomethane CHP el | 0 | 0
ES ElectrictitySupply | Battery | 0 | 7.5725
ES ElectrictitySupply | Fuel Cell el | 0 | 0
ES ElectrictitySupply | Fuel Oil PP | 2.016 | 0
ES ElectrictitySupply | Biogas PP | 15.312 | 0
ES ElectrictitySupply | Natural Gas CHP el | 0 | 0
ES ElectrictitySupply | Peat CHP el | 12.848 | 0
ES HeatCapacity | Waste CHP | 41.1765 | 42.6176
ES HeatCapacity | DH Biomass Boiler | 0 | 0
ES HeatCapacity | DH Electric Boiler | 0 | 70.1078
ES HeatCapacity | Electrolyzer | 0 | 0
ES HeatCapacity | Biomass CHP | 125.3571 | 130
ES HeatCapacity | Fuel Cell | 0 | 0
ES HeatCapacity | DH Heat Pump | 0 | 209.432
ES HeatCapacity | Heat Storage | 0 | 3
ES HeatCapacity | Natural Gas CHP | 0 | 0
ES HeatCapacity | Peat CHP | 4.04 | 0
ES HeatCapacity | DH Natural Gas Boiler | 300 | 0
ES HeatCapacity | Biomethane CHP | 0 | 0
ES HeatCapacity | DH Fuel Oil Boiler | 11 | 0
ES HeatSupply | Waste CHP | 190.5787 | 0.68038
ES HeatSupply | DH Biomass Boiler | 0 | 0
ES HeatSupply | DH Electric Boiler | 0 | 38.1758
ES HeatSupply | Electrolyzer | 0 | 0.90627
ES HeatSupply | Biomass CHP | 755.789 | 618.3222
ES HeatSupply | Fuel Cell | 0 | 0
ES HeatSupply | DH Heat Pump | 0 | 788.361
ES HeatSupply | Heat Storage | 0 | 9.4766
ES HeatSupply | Natural Gas CHP | 0 | 0
ES HeatSupply | Peat CHP | 25.953 | 0
ES HeatSupply | DH Natural Gas Boiler | 663.187 | 0
ES HeatSupply | Biomethane CHP | 0 | 0
ES HeatSupply | DH Fuel Oil Boiler | 22.503 | 0
ED CoreElectricityDemand |  | 2607.9 | 4388
ED CoreHeatDemand |  | 1658 | 1446
ES ElDemand DH EB |  | 0 | 38.5614
ES ElDemand DH HP |  | 0 | 194.4401